## Mk VI Modules - BOM
[10 empty] | 50 | 100 | 200
[6 empty] | AMPCO Quote 11/02/2018 |  |  | top overlay | 20.67 | 17.87 | 16.5
Bills of Material - Modules and Assemblies |  |  |  | 2023-03-06 |  |  |  |  | side | 7.84 | 5.84 | 4.84
[9 empty] | warning label | 6.29 | 4.49 | 3.59
|  | #REF! | [6 empty] | 50 sets: | 2132 | + tax and ship | unit cost | 52.5325
000 | A | Pelican Case 1610 | shipping case with wheels | top | Optimal Cases & Lights | Pelican 1610 Protector Case with foam insert | 1 | P | 546.25 |  | 54.625 | 1 | 600.875
Mk VI Arduino Joystick Module | [7 empty] | U.S. Exchange |  | 1.39
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
100 | J | Enclosure | NEMA 4 fiberglass box | top | Electrosonic | R132-104-000 | 3 | P | 105 |  | 10.5 | 1 | 115.5
101 | J | DSA MKV REVB PCB | Arduino PIC PCB including S&P | inside | Alvey | DSAMKVI (REV C) PCB | 4 | P | 255.183 |  | 0 | 1 | 255.183
102 | J | Power Assist labeling | chassis overlays (3 parts: A,B,C) | top | Ampco | 99003-04 & 05 | 10 | P | 55 |  | 5.5 | 1 | 60.5
103 | J | Joystick - switched | SUZO HAPP 4 WAY JOYSTICK PSM-30 W/.250" SWITCH BLACK | top | Suzo-Happ | 50-0155-00 | 4 | P |  | 22.75 | 32 | 1 | 63.6225
104 | J | Fastener for joystick | M4 x 20mm hex head SS screw | joystick | McMaster Carr | 94500A283 | 1 | P |  | 0.1 | 0.01 | 4 | 0.596
105 | J | Fastener for joystick | M4 hex head SS nut | joystick | McMaster Carr | 91828A231 | 1 | P |  | 0.1 | 0.01 | 4 | 0.596
106 | J | EV-100 Helm Drive Connector | Bulgin 3-pin female- chassis mount | back | Allied Electronics | Aliied 70099239 PX-0730/S | 4 | P | 32 |  | 3.2 | 1 | 35.2
107 | J | power cord | 48" long 5 (or 6) 16 GA conductor cable | chassis | B&E Electronincs |  | 4 | P | 15 |  | 1.5 | 1 | 16.5
108 | J | power cord connector | Bulgin 6-pin male cable connector | back | Allied Electronics | Allied 70099206 PX-0739/P | 4 | P | 38 |  | 3.8 | 1 | 41.8
109 | J | connector dust cap | Bulgin dust cap | back | Allied Electronics | Allied 70099262 PX-0733 | 4 | P | 3 |  | 0.3 | 1 | 3.3
110 | J | Fastener for PCB | M4 x 5mm hex head SS screw | chassis | McMaster Carr | 94500A281 | 1 | P |  | 0.1 | 0.01 | 4 | 0.596
111 | J | power cord grip | strain relief grip for power cord | chassis | McMaster Carr | 69915K54 | 1 | P |  | 3.24 | 0.324 | 1 | 4.8276
112 | J | anti-skid pads | 1/4" adhesive-backed rubber pads | bottom | from EarthX Batteries | surplus from each battery | 1 | P | 0 |  | 0 | 2 | 0
113 | J | J11 - rudder drive harness | J11 - rudder drive harness | inside | Alvey |  | 2 | F | 3 |  | 0.3 | 1 | 3.3
197 | J | Assembly |  |  | IML |  | 2 | F |  |  | 0 | 1 | 0
198 | J | Mark-up |  |  |  |  | 2 | F |  |  | 0 | 1 | 0
199 | J | Manufacturing Cost - Mk VI Joystick Module | [8 empty] | 57.454 |  | 601.5211
Mk VI Development costs - amortization
|  | Total Cost base - Mk VI Joystick Module | [10 empty] | 601.5211
|  | Published Retail Price | [8 empty] | US $ 1,395 |  | 1675
Mk V Joystick Module (Switched joystick) | [7 empty] | U.S. Exchange |  | 1.39
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
100 | J | Enclosure | NEMA 4 fiberglass box | top | Electrosonic | R132-104-000 | 3 | P | 105 |  | 10.5 | 1 | 115.5
101 | J | DSA MKV REVB PCB | integration & S&P PCB | inside | Alvey | DSAMKV (REV x) PCB | 4 | P | 280.456 |  | 0 | 1 | 280.456
102 | J | Sabretooth 2x32A (Dimension Engineering) | Dual PWM Controller (brushed DC) | internal | Robot Shop.com | RB-DIM-47 | 4 | P | 150 |  | 15 | 1 | 165
103 | J | Power Assist labeling | chassis overlays (3 parts: A,B,C) | top | Ampco | 99003-04 & 05 | 10 | P | 55 |  | 5.5 | 1 | 60.5
104 | J | Joystick - switched | SUZO HAPP 4 WAY JOYSTICK PSM-30 W/.250" SWITCH BLACK | top | Suzo-Happ | 50-0155-00 | 4 | P |  | 22.75 | 32 | 1 | 63.6225
105 | J | Fastener for joystick | M4 x 20mm hex head SS screw | joystick | McMaster Carr | 94500A283 | 1 | P |  | 0.1 | 0.01 | 4 | 0.596
106 | J | Fastener for joystick | M4 hex head SS nut | joystick | McMaster Carr | 91828A231 | 1 | P |  | 0.1 | 0.01 | 4 | 0.596
107 | J | EV-100 Helm Drive Connector | Bulgin 3-pin female- chassis mount | back | Allied Electronics | Aliied 70099239 PX-0730/S | 4 | P | 32 |  | 3.2 | 1 | 35.2
108 | J | power cord | 48" long 5 (or 6) 16 GA conductor cable | chassis | B&E Electronincs |  | 4 | P | 15 |  | 1.5 | 1 | 16.5
109 | J | power cord connector | Bulgin 6-pin male cable connector | back | Allied Electronics | Allied 70099206 PX-0739/P | 4 | P | 38 |  | 3.8 | 1 | 41.8
110 | J | connector dust cap | Bulgin dust cap | back | Allied Electronics | Allied 70099262 PX-0733 | 4 | P | 3 |  | 0.3 | 1 | 3.3
111 | J | Fastener for PCB | M4 x 5mm hex head SS screw | chassis | McMaster Carr | 94500A281 | 1 | P |  | 0.1 | 0.01 | 4 | 0.596
112 | J | power cord grip | strain relief grip for power cord | chassis | McMaster Carr | 69915K54 | 1 | P |  | 3.24 | 0.324 | 1 | 4.8276
113 | J | anti-skid pads | 1/4" adhesive-backed rubber pads | bottom | from EarthX Batteries | surplus from each battery | 1 | P | 0 |  | 0 | 2 | 0
114 | J | J11 - rudder drive harness | J11 - rudder drive harness | inside | Alvey |  | 2 | F | 3 |  | 0.3 | 1 | 3.3
197 | J | Assembly |  |  | IML |  | 2 | F |  |  | 0 | 1 | 0
198 | J | Mark-up |  |  |  |  | 2 | F |  |  | 0 | 1 | 0
199 | J | Manufacturing Cost - Mk V Joystick Module | [8 empty] | 72.454 |  | 791.7941
Mk V Development costs - amortization
|  | Total Cost base - Mk V Joystick Module | [10 empty] | 791.7941
|  | Published Retail Price | [8 empty] | US $ 1,395 |  | 1675
Martin 16 Power Assist subassemblies | [5 empty] | 0.245
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
200 | S | helm linear actuator | EV-100 tiller drive | EV-100 | Binnacle.com | Q047 | 4 | P | 1253.5 | 0 | 125.35 | 1 | 1378.85
201 | S | helm linear actuator - connector | Bulgin 3-pin male cable | EV-100 | Allied Electronics | Allied 70099204 PX-0731/P | 4 | P | 38 |  | 3.8 | 1 | 41.8
202 | S | helm linear actuator - power cord | 2 conductor 18GA insulated cable - 42" | EV-100 | McMaster Carr | 7082K26 | 4 | P | 5 |  | 0.5 | 1 | 5.5
203 | S | drive pedestal | EV-100 pedestal mount | Martin 16 | Steveston Marine | D030 | 4 | P | 99 |  | 9.9 | 1 | 108.9
204 | S | pushrod | 54" long x .375" O.D. SS tube (custom) | Martin 16 | Aerotech Specialty Welding | SS RD TUBE SMLS 304 .375 x .049 wall | 2 | F | 100 |  | 10 | 1 | 110
205 | S | pushrod turnbuckle end | 5/16" UNF SS turnbuckle fork with clevis pin | Martin 16 | Abbott Boats Inc. |  | 2 | F | 15 |  | 1.5 | 1 | 16.5
206 | S | 3/16" fastpin | 3/16" fastpin | Martin 16 | Abbott Boats Inc. | 102558 | 3 | P | 4.15 |  | 0.415 | 1 | 4.565
207 | S | power assist tiller | Martin 16 tiller arm with power assist arm | Martin 16 | Aerotech Specialty Welding |  | 3 | P | 80 | 0 | 8 | 1 | 88
208 | S | SS end cap | SS end cap for EV-100 | EV-100 | BRC Engineering |  | 3 | P | 25 | 0 | 2.5 | 1 | 27.5
299 | S | Manufacturing Cost - subassemblies | [8 empty] | 161.965 |  | 1781.615
|  | Manufacturing Cost - Power Assist Mk V Joystick System | [10 empty] | 2383.1361
|  | Published Retail Price | [8 empty] | US $ 2,392 |  | 2990
M16 Windlass Mk VI
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
200 | W | Chassis (2 part) | SS chassis | chassis | IML |  | 3 | P | 135 |  | 13.5 | 1 | 148.5
201 | W | Cover | 3D printed enclosure | cover | IML |  | 2 | P | 75 |  |  | 1 | 75
202 | W | MA-DPDT Contura switch | Sheet in/out control | chassis | www.marineoutfitters.ca Steveston Marine | Seadog 420209 | 10 | P | 35 |  | 3.5 | 1 | 38.5
203 | W | power cord | 48" long 5 (or 6) 16 GA conductor cable | chassis | B&E Electronincs |  | 4 | P | 15 |  | 1.5 | 1 | 16.5
204 | W | power cord grip | CABLE GLAND 4-8MM PG9 NYLON | enclosure | Digikey | AIO-CSPG9-ND | 1 | P |  | 3.24 | 0.324 | 1 | 4.8276
205 | A | power cord connector | Bulgin 6-pin male cable connector | power cord | Allied Electronics | Allied 70099206 PX-0739/P | 4 | P | 32 |  | 3.2 | 1 | 35.2
206 | W | Winch motor | CHINA 80ZYT52RV030-SZ(A) 40:1 | chassis | Dongguan Faradyi Technology Co. | 80ZYT52RV030-SZ(A) | 3 | P |  | 225 | 22.5 | 1 | 335.25
207 | W | Winch hubs | 3D printed Winch hubs | winch hubs | IML |  | 4 | P | 25 |  |  | 2 | 50
208 | W | Winch drums | 3D printed Winch drums | winch drums | IML |  | 4 | P | 50 |  |  | 2 | 100
209 | W | relay PCB | 30A motor relay PCB | chassis | IML | IML fabricated assembly | 10 | F | 44.341 |  |  | 1 | 44.341
210 | W | High output RED LED | indicator lamp | chassis | B&E Electronincs | AND180HRP | 1 | P | 2.59 |  | 0.259 | 1 | 2.849
211 | W | 8mm snap-in LED bezel | indicator lamp | chassis | B&E Electronincs |  | 1 | P | 1 |  | 0.1 | 1 | 1.1
212 | W | spades - females | .250" female wire crimp connector | power cord | Digikey |  | 1 | P | 1 |  | 0.1 | 7 | 7.7
213 | W | cable ties | cable ties | motor | B&E Electronincs |  | 1 | P | 0.2 |  | 0.02 | 2 | 0.44
214 | W | Cleat | Nautos composite cam cleat (Harken 150) | winch drums | www.marineoutfitters.ca | 91025 (replacement for Harken 150) | 3 | P | 35 |  | 3.5 | 2 | 77
215 | W | Fastener for cleat | #10 x 32 x 1.5" FH S.S. machine screw | winch drums | Bolt Supply |  | 1 | P | 0.75 |  | 0.075 | 4 | 3.3
216 | W | Rubber feet | 1/2" x .125" rubber grommets | chassis | Napa Auto - Sidney |  | 1 | P | 0.5 |  | 0.05 | 4 | 2.2
217 | W | Winch hub set screws | 5/16" x 1/2" x 20 SS allen set screw | winch drums | Napa Auto - Sidney |  | 1 | P | 1.1 |  | 0.11 | 4 | 4.84
218 | W | Winch hub bolts | 1/2" x 1/2" SS shoulder screw | winch drums | McMaster Carr | 90298A707 | 1 | P |  | 8 | 0.8 | 2 | 23.84
219 | W | Winch hub washers | 1/2" washer - Acetal plastic | winch drums | McMaster Carr | 95647A137 | 1 | P |  | 0.75 | 0.075 | 2 | 2.235
220 | W | Fastener for motor | 1/4" x 3/4" SS allen key button screw | chassis | McMaster Carr |  | 1 | P |  | 0.3 | 0.03 | 4 | 1.788
221 | W | Fastener for motor | 1/4" SS nylok nut | chassis | McMaster Carr |  | 1 | P |  | 0.12 | 0.012 | 4 | 0.7152
222 | W | woodruff keys | 1/8" x 1/8" | motor | Groschopp |  | 1 | P |  | 0.1 | 0.01 | 2 | 0.298
223 | W | winch drum quick release | 1/4" x 1" fastpin | winch drums | McMaster Carr | 98404A959 | 3 | P |  | 2 | 0.2 | 2 | 5.96
224 | W | winch drum quick release | 1/16" SS wire | winch drums | McMaster Carr | 8909T12 (50 foot roll) | 3 | P |  | 1 | 0.1 | 2 | 2.98
225 | W | winch drum quick release | 1/16" nicopress | winch drums | McMaster Carr | 3883T22 (pack of 50) | 3 | P |  | 0.25 | 0.025 | 2 | 0.745
226 | W | winch drum quick release | 1/8" poly tubing - 12" length | winch drums | McMaster Carr | 5233K52 (100 feet) | 3 | P |  | 0.25 | 0.025 | 2 | 0.745
297 | W | Assembly |  |  | IML |  | 2 | F |  |  | 0 | 1
298 | W | Mark-up |  |  |  |  | 2 | F |  |  | 0 | 1
299 | W | Manufacturing Cost - Windlass | [10 empty] | 986.8538
|  | Development costs - amortization | [10 empty] | 0
|  | Published Retail Price | [8 empty] | US $ 2,320 |  | 2899
M16 Sip & Puff Module (embedded in Mk VI)
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
300 | S | Sip & puff sensors | PRESSURE SENSOR AXIAL PORT 8-SOP | Mk VI PCB | Digikey | MPXV7007GC6U-ND | 1 | P | 48 |  | 10 | 2 | 116 | 48 | 0 | 10 | #REF!
301 | S | pnuematic tube grip | CABLE GLAND 3-6.5MM PG7 NYLON | enclosure | Digikey | AIO-CSPG7-ND |  | P |  | 2.82 | 0.282 | 1 | 4.2018
302 | S | 1/4" tubing | S&P | Mk V PCB | McMaster Carr | RCR CY20204 | 1 | P |  | 1 | 0.1 | 1 | 1.49
303 | S | 1/4" "Y" connector | S&P | Mk V PCB | McMaster Carr | MYT 47325 | 1 | P |  | 1 | 0.1 | 2 | 2.98
304 | S | Base plate | 2.5" x 6" aluminum | S&P Harness | Aerotech Specialty Welding |  | 2 | F | 25 |  | 2.5 | 1 | 27.5
305 | S | Dual-lock velcro | 1" hooks | S&P Harness | Triad Fasteners | 3M SJ 3551 | 1 | P | 2.5 |  | 0.25 | 1 | 2.75
306 | S | Base boss | 1" round x 1" | S&P Harness | BRC Engineering |  | 2 | F | 25 |  | 2.5 | 1 | 27.5
307 | S | Mouth boss | 1" round x 2.5" | S&P Harness | BRC Engineering |  | 2 | F | 85 |  | 8.5 | 1 | 93.5
308 | S | Locline 1/8" neat fitting | Flex tube - 1/8 thread pkg of 8 | S&P Harness | Moore Industrial 735-6113 | ED41405 | 2 | P | 2 |  | 0.2 | 2 | 4.4
309 | S | Locline F/F adaptor | Flex tube F/F adaptor pkg of 8 | S&P Harness | Moore Industrial | ED41409 | 2 | P | 2 |  | 0.2 | 1 | 2.2
310 | S | Locline 1/4" segment | Flex tube - 25 feet bulk | S&P Harness | Moore Industrial | ED49420 | 2 | P | 12.3667 |  | 1.2367 | 1 | 13.6033
311 | S | Pneumatic tubing | 5' 1/16" twin tubing | S&P Harness | McMaster Carr | 2J-006-10 | 3 | P |  | 5 | 0.5 | 1 | 7.45
312 | S | Luer connector - 1/16 tube | Luer connector for 1/16" -1/8" tubing | S&P Harness | Value Plastics 1-970-223-8306 | MTLR210-1 | 3 | P |  | 0.25 | 0.025 | 4 | 1.49
313 | S | Luer connector - collar (black) | 1/4" O.D. tubing "nut" female - black | S&P Harness | Value Plastics 1-970-223-8306 | MLLR-3 | 3 | P |  | 0.25 | 0.025 | 2 | 0.745
314 | S | Luer connector - collar (white) | 1/4" O.D. tubing "nut" female - white | S&P Harness | Value Plastics 1-970-223-8306 | MLLR-4 | 3 | P |  | 0.25 | 0.025 | 2 | 0.745
315 | S | Luer connector - nut (black) | 1/16" I.D. tubing "nut" black - male | S&P Harness | Value Plastics 1-970-223-8306 | K10-3 | 3 | P |  | 0.25 | 0.025 | 2 | 0.745
316 | S | Luer connector - nut (white) | 1/16" I.D. tubing "nut" white - male | S&P Harness | Value Plastics 1-970-223-8306 | K10-4 | 3 | P |  | 0.25 | 0.025 | 2 | 0.745
317 | S | mouth pipe | 1/4" O.D. polypropylene tube | S&P Harness | McMaster Carr |  | 1 | P | 0.4 |  | 0.04 | 1 | 0.44
397 | S | Assembly |  |  | Alvey |  | 2 | F |  |  | 0 | 1
398 | S | Mark-up |  |  |  |  | 2 | F |  |  | 0 | 1
399 | S | Manufacturing Cost - Sip & Puff (embedded in Mk V) | [10 empty] | 308.4851
|  | Published Retail Price | [8 empty] | #REF! |  | 750
Sip & Puff stalk with chest mounting plate (personal)
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
304 | S | Base plate | 3D printed 2.5" x 6" aluminum with base boss 1" round x 1" | S&P Harness | IML |  | 2 | F | 2.5 |  | 0.25 | 1 | 2.75 | 2.5
305 | S | Velcro | 1" hooks | S&P Harness |  |  |  |  | 4 |  | 0.4 | 1 | 4.4
306 | S | Mouth boss | 3D printed 1" round x 2.5" | S&P Harness | IML |  | 2 | F | 2.5 |  | 0.25 | 1 | 2.75
307 | S | Locline 1/8" neat fitting | Flex tube - 1/8 NPT pkg of 4 | S&P Harness | McMaster Carr | 10095K29 | 2 | P | 2 |  | 0.2 | 2 | 4.4
308 | S | Locline F/F adaptor | Flex tube F/F adaptor pkg of 4 | S&P Harness | McMaster Carr | 10095K43 | 2 | P | 2 |  | 0.2 | 1 | 2.2
309 | S | Locline 1/4" segment | Flex tube - 5 feet bulk | S&P Harness | McMaster Carr | 10095K97 | 2 | P | 12.3667 |  | 1.2367 | 1 | 13.6033
310 | S | Pneumatic tubing | 5' 1/16" twin tubing | S&P Harness | McMaster Carr | 50555K64 | 3 | P |  | 5 | 0.5 | 1 | 7.45
311 | S | Luer connector - 1/16 tube | Luer connector for 1/16" -1/8" tubing | S&P Harness | Value Plastics 1-970-223-8306 | MTLR210-1 | 3 | P |  | 1 | 0.1 | 4 | 5.96
312 | S | Luer connector - collar (black) | 1/4" O.D. tubing "nut" female - black | S&P Harness | Value Plastics 1-970-223-8306 | MLLR-3 | 3 | P |  | 1 | 0.1 | 2 | 2.98
313 | S | Luer connector - collar (white) | 1/4" O.D. tubing "nut" female - white | S&P Harness | Value Plastics 1-970-223-8306 | MLLR-4 | 3 | P |  | 1 | 0.1 | 2 | 2.98
314 | S | Luer connector - nut (black) | 1/16" I.D. tubing "nut" black - male | S&P Harness | Value Plastics 1-970-223-8306 | K10-3 | 3 | P |  | 1 | 0.1 | 2 | 2.98
315 | S | Luer connector - nut (white) | 1/16" I.D. tubing "nut" white - male | S&P Harness | Value Plastics 1-970-223-8306 | K10-4 | 3 | P |  | 1 | 0.1 | 2 | 2.98
316 | S | mouth pipe | 1/4" O.D. polypropylene tube | S&P Harness | Home Depot |  | 1 | P | 0.1 |  | 0.01 | 1 | 0.11
397 | S | Assembly |  |  | Alvey |  | 2 | F |  |  | 0 | 1
398 | S | Mark-up |  |  |  |  | 2 | F | 0 |  | 0 | 1 | 0
398 | S | Manufacturing Cost - Sip & Puff stalk with chest mounting plate | [10 empty] | 55.5433
|  | Published Retail Price | [8 empty] | US $ 160 |  | 190
Lithium Battery Module
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
500 | BM | 7AH LFP battery | EarthX ETX18B LFP battery - 7AH | Battery | EarthX Batteries | ETX18B | 2 | P |  | 229 | 22.9 |  | 0
500 | BM | 7AH LFP battery | FLY-Energy (AliExpress.com) | Battery | FLY-Energy (AliExpress.com) | 7A-BS motorcycle battery | 2 | P | 76.6667 |  | 25 |  | 0
500 | BM | 7AH LFP battery | Dakota Lithium LFP battery - 7AH | Battery | Dakota Lithium | 7AH LFP | 2 | P | 105 |  | 10.5 | 1 | 115.5
501 | BM | Pelican 1120 enclosure | waterproof enclosure | Pelican case | Optimal Cases and Lights | Pelican 1120 Protector Case without foam insert | 1 | P | 47 |  | 4.7 | 1 | 51.7
502 | BM | DSABAT REVA PCB | EarthX battery PCB with charge meter | Battery | IML | DSABAT (REV x) PCB | 4 | P | 19.71 |  | 1.971 | 1 | 21.681
503 | BM | Joystick/Windlass connector | Bulgin 6-pin female- chassis mount | Pelican case | Allied Electronics | Allied 70099241 PX-0738/S | 4 | P | 38 |  | 3.8 | 2 | 83.6
504 | BM | connector dust cap | Bulgin dust cap | Pelican case | Allied Electronics | Allied 70099262 PX-0733 | 4 | P | 3 |  | 0.3 | 2 | 6.6
505 | BM | wiring harness | wiring harness | Pelican case | Alvey |  | 2 | P | 10 |  | 0 | 1 | 10
506 | BM | 20A ATO fuse holder | wiring harness | Pelican case | amazon.ca |  | 2 | P | 15 |  | 0 | 2 | 30
507 | BM | internal shock pads | 1/4" adhesive-backed rubber pads | Pelican case | EarthX Batteries | surplus with each battery | 1 | P | 5 |  | 0 | 1 | 5
508 | BM | labels | warning to user label | Pelican case | Ampco |  | 1 | P | 6.5 |  | 0.65 | 1 | 7.15
509 | BM | crimp connector | YELLOW 1/4" ring crimp connector | Pelican case | Trotac Marine |  | 1 | P | 1.5 |  | 0 | 1 | 1.5
510 | BM | crimp connector | YELLOW #10 ring crimp connector | Pelican case | Trotac Marine |  | 1 | P | 1 |  | 0 | 0 | 0
511 | BM | crimp connector | BLUE #10 ring crimp connector | Pelican case | Trotac Marine |  | 1 | P | 1.5 |  | 0 | 1 | 1.5
512 | BM | crimp connector | BLUE 1/4" ring crimp connector | Pelican case | Trotac Marine |  | 1 | P | 0.7 |  | 0 | 0 | 0
547 | BM | Assembly |  |  | Alvey |  | 2 | F |  |  | 0 | 1 | 0
548 | BM | Mark-up |  |  |  |  | 2 | F |  |  | 0 | 1 | 0
549 | BM | Manufacturing Cost - Lithium Battery Module | [10 empty] | 334.231
|  | Published Retail Price | [8 empty] | US $ 352 |  | 450
M16 Battery Charger (Lithium Battery Module)
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
600 | BC | Battery Charger | 6A Li-ion battery charger |  | Amazon.ca | TM391 | 2 | P | 155 |  |  | 1 | 155
601 | BC | power cord connector | Bulgin 6-pin male cable connector | back | Allied Electronics | Allied 70099206 PX-0739/P | 2 | P | 25 |  | 2.5 | 1 | 27.5
697 | BC | Assembly |  |  | Alvey |  | 2 | F |  |  | 0 | 1 | 0
698 | BC | Mark-up |  |  |  |  | 2 | F |  |  | 0 | 1 | 0
699 | BC | Manufacturing Cost - Lithium Battery Charger | [10 empty] | 182.5
|  | Published Retail Price | [8 empty] | US $ 150 |  | 195
M16 Power Assist System - Adaptor Kit
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
700 | AK | drive pedestal | mounting pedestal | M16 deck | RayMarine Inc. | D030 | 4 | P | 75 |  | 7.5 | 1 | 82.5
701 | AK | pushrod fairlead | pushrod fairlead | M16 deck | Abbott Boats |  | 3 | P | 5 |  | 0.5 | 1 | 5.5
702 | AK | fairlead fasteners | fairlead fasteners | M16 deck | Abbott Boats |  | 3 | P | 1 |  | 0.1 | 1 | 1.1
797 | AK | Assembly |  |  | Alvey |  | 2 | F | 10 |  | 0 | 1 | 10
798 | AK | Mark-up |  |  |  |  | 2 | F | 15 |  | 0 | 1 | 15
799 | AK | Manufacturing Cost - M16 Power Assist System - Adaptor Kit | [10 empty] | 114.1
|  | Published Retail Price | [10 empty] | 250
Mk V Sip & Puff Module (RELAY) | [7 empty] | U.S. Exchange |  | 1.39
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
100 | RE | Enclosure | NEMA 4 fiberglass box | top | Electrosonic | R132-104-000 | 3 | P | 105 |  | 10.5 | 1 | 115.5
101 | RE | DSA MKV REVB PCB | integration & S&P PCB | inside | Alvey | DSAMKV (REV x) PCB | 4 | P | 280.456 |  | 0 | 1 | 280.456
102 | RE | Power Assist labeling | chassis overlays (3 parts: A,B,C) | top | Ampco | 99003-04 & 05 | 10 | P | 75 |  | 7.5 | 1 | 82.5
103 | RE | EV-100 Helm Drive Connector | Bulgin 3-pin female- chassis mount | back | Allied Electronics | Aliied 70099239 PX-0730/S | 4 | P | 25 |  | 2.5 | 1 | 27.5
104 | RE | power cord | 48" long 5 (or 6) 16 GA conductor cable | chassis | B&E Electronincs |  | 4 | P | 15 |  | 1.5 | 1 | 16.5
105 | RE | power cord connector | Bulgin 6-pin male cable connector | back | Allied Electronics | Allied 70099206 PX-0739/P | 4 | P | 25 |  | 2.5 | 1 | 27.5
106 | RE | connector dust cap | Bulgin dust cap | back | Allied Electronics | Allied 70099262 PX-0733 | 4 | P | 3 |  | 0.3 | 1 | 3.3
107 | RE | Fastener for PCB | M4 x 5mm hex head SS screw | chassis | McMaster Carr | 94500A281 | 1 | P | 0.5 |  | 0.05 | 4 | 2.2
108 | RE | power cord grip | strain relief grip for power cord | chassis | McMaster Carr | 69915K54 | 1 | P |  | 3.24 | 0.324 | 1 | 4.8276
109 | RE | anti-skid pads | 1/4" adhesive-backed rubber pads | bottom | from EarthX Batteries | surplus from each battery | 1 | P | 0 |  | 0 | 2 | 0
110 | RE | J7 Windlass harness | J7 Windlass harness | inside | Alvey |  | 2 | F | 4 |  | 0.4 | 1 | 4.4
111 | RE | J11 - rudder drive harness | J11 - rudder drive harness | inside | Alvey |  | 2 | F | 3 |  | 0.3 | 1 | 3.3
300 | RE | Sip & puff switches | MPL-502-range B micro switch | Mk V PCB | Micro Pnuematic Logic Inc. 1-888-386-4270 |  | 1 | P |  | 40 | 4 | 4 | 238.4 | 0 | 40 | 4 | #REF!
301 | RE | tube strain relief | 3/4" strain relief | S&P Module | B&E Electronincs | 3213 | 1 | P | 3 |  | 0.3 | 3 | 9.9
302 | RE | 1/4" tubing | S&P | S&P Module | McMaster Carr | RCR CY20204 | 1 | P | 2 |  | 0.2 | 1 | 2.2
303 | RE | 1/4" "Y" connector | S&P | S&P Module | McMaster Carr | MYT 47325 | 1 | P | 2 |  | 0.2 | 2 | 4.4
304 | RE | Base plate | 2.5" x 6" aluminum | S&P Harness | Aerotech Specialty Welding |  | 2 | F | 25 |  | 2.5 | 1 | 27.5
305 | RE | Dual-lock velcro | 1" hooks | S&P Harness | Triad Fasteners | 3M SJ 3551 | 1 | P | 4 |  | 0.4 | 1 | 4.4
306 | RE | Base boss | 1" round x 1" | S&P Harness | BRC Engineering |  | 2 | F | 25 |  | 2.5 | 1 | 27.5
307 | RE | Mouth boss | 1" round x 2.5" | S&P Harness | BRC Engineering |  | 2 | F | 85 |  | 8.5 | 1 | 93.5
308 | RE | Locline 1/8" neat fitting | Flex tube - 1/8 thread pkg of 8 | S&P Harness | Moore Industrial 735-6113 | ED41405 | 2 | P | 2 |  | 0.2 | 2 | 4.4
309 | RE | Locline F/F adaptor | Flex tube F/F adaptor pkg of 8 | S&P Harness | Moore Industrial | ED41409 | 2 | P | 2 |  | 0.2 | 1 | 2.2
310 | RE | Locline 1/4" segment | Flex tube - 25 feet bulk | S&P Harness | Moore Industrial | ED49420 | 2 | P | 12.3667 |  | 1.2367 | 1 | 13.6033
311 | RE | Pneumatic tubing | 5' 1/16" twin tubing | S&P Harness | McMaster Carr | 2J-006-10 | 3 | P |  | 10 | 1 | 1 | 14.9
312 | RE | Luer connector - 1/16 tube | Luer connector for 1/16" -1/8" tubing | S&P Harness | Value Plastics 1-970-223-8306 | MTLR210-1 | 3 | P |  | 0.25 | 0.025 | 4 | 1.49
313 | RE | Luer connector - collar (green) | 1/4" O.D. tubing "nut" female - red | S&P Harness | Value Plastics 1-970-223-8306 | MLLR-3 | 3 | P |  | 0.25 | 0.025 | 2 | 0.745
314 | RE | Luer connector - collar (red) | 1/4" O.D. tubing "nut" female - green | S&P Harness | Value Plastics 1-970-223-8306 | MLLR-4 | 3 | P |  | 0.25 | 0.025 | 2 | 0.745
315 | RE | Luer connector - nut (green) | 1/16" I.D. tubing "nut" red - male | S&P Harness | Value Plastics 1-970-223-8306 | K10-3 | 3 | P |  | 0.25 | 0.025 | 2 | 0.745
316 | RE | Luer connector - nut (red) | 1/16" I.D. tubing "nut" green - male | S&P Harness | Value Plastics 1-970-223-8306 | K10-4 | 3 | P |  | 0.25 | 0.025 | 2 | 0.745
317 | RE | mouth pipe | 1/4" O.D. polypropylene tube | S&P Harness | Home Depot |  | 1 | P | 0.1 |  | 0.01 | 1 | 0.11
197 | RE | Assembly |  |  | IML |  | 2 | F | 200 |  | 0 | 1 | 200
198 | RE | Mark-up |  |  |  |  | 2 | F | 250 |  | 0 | 1 | 250
199 | RE | Manufacturing Cost - Mk V Sip & Puff Module (RELAY) | [10 empty] | 1465.4669
|  | Mk V Development costs - amortization | [10 empty] | 200
|  | Total Cost Base - Mk V Sip & Puff Module (RELAY; includes EV100 helm drive and accessories) | [10 empty] | 3447.0819
|  | Published Retail Price | [8 empty] | US $ 2,400 |  | 2990
Spare parts, tools, supplies
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
| SP | ST4000 connector | 3-pin female chassis connector | enclosure | Raymarine | M81180 | 3 | P | 20 |  | 2 | 2.2 | 48.4
| SP | waterproof lubricant for connectors | Chemplex 710 silicone compound | spare | McMaster Carr | 1418K31 |  |  |  | 15.25 | 1.525 | 2.2 | 49.9895
| SP | lockline assembly tool - small
| SP | nicopress crimps
| SP | wire stripper
| SP | bench power supply (variable voltage; current limiting)
| SP | portable bench vice
| SP | anti-static matt
| SP | carbon filter soldering extraction fan
| SP | wire cutters
| SP | heat shrink gun
| SP | heat shink assortment
| SP | tweezers
| SP | surgical clamps (2)
| SP | jeweller's screw drivers
| SP | 1" hole saw | Bulgin chassis mount connectors
| SP | 1 1/8" hole saw | joystick mount hole (30mm)
| SP | 5/8" brad point drill bit | PG9 power cord grip
| SP | 11/16" brad point drill bit | McMaster grip
| SP | 1/2" brad point drill bit | PG7 pnuematic tube grip
| SP | 4mm drill bit | joystick mount holes (4mm hardware)
| SP | de-burring tool | clean out various holes during fabrication
| SP | Brother P-Touch 1/2" label maker | serial number labels; various test labels
| SP | WHITE/BLACK, BLACK/CLEAR tape cartridges
| SP | vernier caliper | measurements; marking enclosures for machining
SP
SP
| SKUD Seat Control Module | [10 empty] | Exchange
0
Part # | Assem | Name | Description | Location | Vendor | Vendor Part # | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Quan | Total cost
1 | SKUD Battery Module | 18AH (equivalent) Li-ion battery | EarthX Li-ion battery - 18AH | Battery | EarthX Batteries | ETX18B | 2 | P |  | 155 | 15.5 |  | 0
2 | SKUD Battery Module | Pelican 1120 enclosure | waterproof enclosure | Pelican case | Optimal Cases and Lights | Pelican 1120 Protector Case without foam insert | 1 | P | 32 |  | 3.2 | 1 | 35.2
3 | SKUD Battery Module | DSABAT REVA PCB | SKUD Seat Control electronics | Pelican case | IML | SKUD Seat Control | 4 | P | 172.431 |  |  | 1 | 172.431
4 | SKUD Battery Module | tilt sensor; Joystick/S&P connectors | Bulgin 6-pin female- chassis mount | Pelican case | Allied Electronics | Allied 70099241 PX-0738/S | 4 | P | 18 |  | 1.8 | 2 | 39.6
5 | SKUD Battery Module | tilt sensor; Joystick/S&P connectors | Bulgin 6-pin male- cable | Pelican case | Allied Electronics | 70099206 (Allied) PX-0739/P | 4 | P | 18 |  | 1.8 | 3 | 59.4
6 | SKUD Battery Module | Actuator connector | Bulgin 3-pin female- chassis mount | Pelican case | Allied Electronics | Aliied 70099239 PX-0730/S | 4 | P | 14 |  | 1.4 | 1 | 15.4
7 | SKUD Battery Module | Actuator connector | Bulgin 3-pin male cable | Pelican case | Allied Electronics | 70099204 PX-0731/P | 4 | P | 14 |  | 1.4 | 1 | 15.4
8 | SKUD Battery Module | connector dust cap | Bulgin dust cap | Pelican case | Allied Electronics | Allied 70099262 PX-0733 | 4 | P | 3 |  | 0.3 | 3 | 9.9
9 | SKUD Battery Module | wiring harness | wiring harness | Pelican case | Alvey |  | 2 | P | 10 |  | 0 | 1 | 10
10 | SKUD Battery Module | MA-DPDT Contura switch | rocker switch | chassis | www.marineoutfitters.ca | Seadog 420209 | 2 | P | 20 |  | 0 | 0 | 0
11 | SKUD Battery Module | internal shock pads | 1/4" adhesive-backed rubber pads | Pelican case | EarthX Batteries | surplus with each battery | 1 | P | 5 |  | 0 | 1 | 5
12 | SKUD Battery Module | labels | warning to user label | Pelican case | Ampco |  | 1 | P | 6.5 |  | 0.65 | 1 | 7.15
13 | SKUD Battery Module | wire harness | 16 GA wire harness; cables | Pelican case | IML |  | 1 | P | 10 |  | 0 | 1 | 10
14 | SKUD Battery Module | assembly | assembly |  | IML |  |  |  | 75 |  | 0 | 1 | 75
| SKUD Battery Module |  |  |  |  | Manufacturing Cost - SKUD Seat Control Module | [6 empty] | 454.481
Development costs - amortization
| Published List Price |  |  |  |  | Published Retail Price
|  |  | 5 |  |  | Orders
Total Sales Value

## PCB - BOM
[8 empty] | 2018-11-04 |  | Steve Alvey 403-870-7210
Inventory | Value |  | Bills of Material - PCBs
|  |  | Mk VI PCB (Arduino architecture; introduced June 2021) | [10 empty] | Exchange |  |  | Prod Run | 6
GST | 169.5772 |  |  |  | 77 | [8 empty] | 1.42
| 3391.545 |  | Component # | Assem | Quan | Vendor Part # | Description | Name | Location | Vendor | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Total cost | Required | On-Hand | Order | Name | Description | Vendor | Vendor Part # | Vendor Phone
| 0 | 1 | PCB MKVI C | MKVI | 1 | DSAMVIC | 3 1/2" x 5" PCB | DSA MkVI Revision D PCB | PCB | JCLPCB | 3 | P |  | 15 | 1.5 | 21 | 6 | 0 | 6 | DSA MkVI Revision D PCB | 3 1/2" x 5" PCB | JCLPCB | DSAMVIC | 604-276-9717
| 0 | 2 | U2 | MKVI | 1 | ATMEGA328-PU | ATMEGA 328-PU | Arduino PIC with bootloader | PCB | DigiKey | 1 | P |  | 5 | 0.5 | 7 | 6 | 0 | 6 | Arduino PIC with bootloader | ATMEGA 328-PU | DigiKey | ATMEGA328-PU | 800-344-4539
| 0 | 3 | U1, U5 | MKVI | 2 | MPXV7007GC6U-ND | PRESSURE SENSOR AXIAL PORT 8-SOP | pnuematic sensor | PCB | DigiKey | 1 | P | 48 |  | 1 | 98 | 12 | 0 | 12 | pnuematic sensor | PRESSURE SENSOR AXIAL PORT 8-SOP | DigiKey | MPXV7007GC6U-ND | 954-788-3611 | 555 SW 12 Ave, 204, Pompano Beach FL 33069
| 0 | 4 | U3 | MKVI | 1 | ULN2003AIN | Darlington transistor array (7) | relay / LED drivers | PCB | DigiKey | 1 | P | 1.5 |  | 0.15 | 1.65 | 6 | 0 | 6 | relay / LED drivers | Darlington transistor array (7) | DigiKey | ULN2003AIN | 800-344-4539
| 0 | 5 | U4 | MKVI | 1 | NJM7805FA-ND | NJR Corp 5v - 1A Voltage regulator | +5V power regulator | PCB | DigiKey | 1 | P | 1.5 |  | 0.15 | 1.65 | 6 | 0 | 6 | +5V power regulator | NJR Corp 5v - 1A Voltage regulator | DigiKey | NJM7805FA-ND | 800-344-4539
| 0 | 6 | U6 | MKVI | 1 | MD13S | Cytron MD13S PWM module | 13A PWM Module | PCB | Cytron | 1 | P |  | 20 | 2 | 28 | 6 | 0 | 6 | 13A PWM Module | Cytron MD13S PWM module | Cytron | MD13S | 800-344-4539
| 0 | 7 | X2 | MKVI | 1 | 61-221-0 | Minature PC mount buzzer (Projects Unlimited) | Buzzer | PCB | Banggood | 1 | P | 2.21 |  | 0.221 | 2.431 | 6 | 0 | 6 | Buzzer | Minature PC mount buzzer (Projects Unlimited) | Banggood | 61-221-0 | 800-344-4539
| 0 | 8 | X1 | MKVI | 1 | 2151-AS-16.000-20-EXT-ND | 16MHz crystal - low profile | PIC oscillator | PCB | DigiKey | 1 | P | 1.5 |  | 0.15 | 1.65 | 6 | 0 | 6 | PIC oscillator | 16MHz crystal - low profile | DigiKey | 2151-AS-16.000-20-EXT-ND | 800-344-4539
| 0 | 9 | K2 | MKVI | 1 | Z2307-ND | OMRON G2R-1A-E 2068W1 12V/16A | main power relay - reverse polarity protect | PCB | DigiKey | 2 | P | 9.75 |  | 0.975 | 10.725 | 6 | 0 | 6 | main power relay - reverse polarity protect | #REF! | DigiKey | OMRON G2R-1A-E 2068W1 12V/16A
| 0 | 10 | C7, C8 | MKVI | 2 |  | 22pF ceramic capacitor | resonator |  | Banggood | 1 | P |  | 0.25 | 0.025 | 0.7 | 12 | 0 | 12 | resonator | 22pF ceramic capacitor | Banggood | 0 | 800-344-4539
| 0 | 11 | C9 | MKVI | 1 | P5142-ND | 1000 microfarad ELECTROLYTIC (16V) cap | +12V power supply | PCB | DigiKey | 1 | P | 1 |  | 0.1 | 1.1 | 6 | 0 | 6 | +12V power supply | 1000 microfarad ELECTROLYTIC (16V) cap | DigiKey | P5142-ND | 800-344-4539
| 0 | 12 | C10, C11 | MKVI | 2 | P2038-ND | 10 microfarad ELECTROLYTIC (16V) cap | +12V power supply | PCB | DigiKey | 1 | P | 1.5 |  | 0.15 | 3.3 | 12 | 0 | 12 | +12V power supply | 10 microfarad ELECTROLYTIC (16V) cap | DigiKey | P2038-ND | 800-344-4539
| 0 | 13 | C12, C13, C15, C16, C17, C18 | MKVI | 6 | 399-4309-ND | 0.47 microfarad ceramic cap (50V) | by-pass | top | DigiKey | 1 | P | 0.6 |  | 0.06 | 3.96 | 0 |  |  | 0 | by-pass | 0.47 microfarad ceramic cap (50V) | DigiKey | 399-4309-ND | 800-344-4539 | 0.6 | 0 | 0.06 | #VALUE!
| 0 | 14 | C14 | MKVI | 1 |  | 4.7 nanofarad ceramic cap (50V) | V sense resistor bridge by-pass | top | DigiKey | 1 | P | 1.25 |  | 0.125 | 1.375 | 0 |  |  | 0 | V sense resistor bridge by-pass | 4.7 nanofarad ceramic cap (50V) | DigiKey | 0 | 800-344-4539 | 1.25 | 0 | 0.125 | #VALUE!
| 0 | 15 | C19 | MKVI | 1 | P4944-ND | .1uF ceramic cap (50V) | Arduino reset line | top | DigiKey | 1 | P | 1.22 |  | 0.122 | 1.342 | 0 |  |  | 0 | Arduino reset line | .1uF ceramic cap (50V) | DigiKey | P4944-ND | 800-344-4539 | 1.22 | 0 | 0.122 | #VALUE!
| 0 | 16 | F1 | MKVI | 1 | 18-AHRL 1400-ND | 14A PTC | Polythermal current limiter - 14A | PCB | DigiKey | 1 | P | 2.5 |  | 0.25 | 2.75 | 6 | 0 | 6 | Polythermal current limiter - 14A | 14A PTC | DigiKey | 18-AHRL 1400-ND | 800-344-4539
| 0 | 17 | D8, D7 | MKVI | 2 | 1N4001GP-E3/73 | power diode | reverse polarity protect - main power relay | PCB | DigiKey | 1 | P | 0.75 |  | 0.075 | 1.65 | 12 | 0 | 12 | reverse polarity protect - main power relay | power diode | DigiKey | 1N4001GP-E3/73 | 800-344-4539
| 0 | 18 | D1, D9, D10, D11 | MKVI | 4 | 497-2512-1-ND | BAT48 40V schotky diode | reverse polarity protection | PCB | DigiKey | 1 | P | 0.5 |  | 0.05 | 2.2 | 24 | 0 | 24 | reverse polarity protection | BAT48 40V schotky diode | DigiKey | 497-2512-1-ND | 800-344-4539
| 0 | 19 | D2, D3, D4, D5, D6, D12 | MKVI | 6 | XLM2MR12W | high brightness RED LED (30mA) pg 583 | indicator LEDs | PCB | DigiKey | 1 | P | 1.1 |  | 0.11 | 7.26 | 36 | 0 | 36 | indicator LEDs | high brightness RED LED (30mA) pg 583 | DigiKey | XLM2MR12W | 800-344-4539
| 0 | 20 | R1 | MKVI | 1 | 470QBK-ND‎ | 470R - 5% 1/4 W resistor | Windlass LED shunt | PCB | DigiKey | 1 | P | 0.1 |  | 0.1 | 0.2 | 6 | 0 | 6 | Windlass LED shunt | 470R - 5% 1/4 W resistor | DigiKey | 470QBK-ND‎ | 800-344-4539
| 0 | 21 | R3 | MKVI | 1 | 4.99KXBK-ND | 4.99K - 1% 1/8 W resistor | VOLTAGE REF | PCB | DigiKey | 1 | P | 0.4 |  | 0.1 | 0.5 | 6 | 0 | 6 | VOLTAGE REF | 4.99K - 1% 1/8 W resistor | DigiKey | 4.99KXBK-ND | 800-344-4539
| 0 | 22 | R4 | MKVI | 1 | 1KEBK-ND | 1K - 5% 1/8 W resistor | LED resistor | PCB | DigiKey | 1 | P | 0.1 |  | 0.01 | 0.11 | 6 | 0 | 6 | LED resistor | 1K - 5% 1/8 W resistor | DigiKey | 1KEBK-ND | 800-344-4539
| 0 | 23 | R5 | MKVI | 1 | 11.0KXBK-ND | 11.0K - 1% 1/8 W resistor | VOLTAGE REF | PCB | DigiKey | 1 | P | 0.4 |  | 0.1 | 0.5 | 6 | 0 | 6 | VOLTAGE REF | 11.0K - 1% 1/8 W resistor | DigiKey | 11.0KXBK-ND | 800-344-4539
| 0 | 24 | R6 | MKVI | 1 | 10KEBK-ND | 10K - 5% 1/8 W resistor | pull up for ULN2003 | PCB | DigiKey | 1 | P | 0.75 |  | 0.075 | 0.825 | 6 | 0 | 6 | pull up for ULN2003 | 10K - 5% 1/8 W resistor | DigiKey | 10KEBK-ND | 800-344-4539
| 0 | 25 | RN1 | MKVI | 1 | 4306R-101-471LF-ND | 6 pin SIP 470R - 1% 1/4 W resistor | R for LEDs | PCB | DigiKey | 1 | P | 1.9 |  | 0.19 | 2.09 | 6 | 0 | 6 | R for LEDs | 6 pin SIP 470R - 1% 1/4 W resistor | DigiKey | 4306R-101-471LF-ND | 800-344-4539
| 0 | 26 | RN2, RN3 | MKVI | 1 | 4610X-101-103LF-ND | 10 pin SIP 10K - 1% 1/4 W resistor | various R | PCB | DigiKey | 1 | P | 0.75 |  | 0.075 | 0.825 | 6 | 0 | 6 | various R | #REF! | DigiKey | #REF! | 800-344-4539
| 0 | 27 | RN4, RN5 | MKVI | 2 | 4606X-101-104LF ?? | 100K x 5 1% 1/8 W SIP | 100K for joystick and S&P sensors reference | PCB | DigiKey | 1 | P | 1.2 |  | 0.1 | 2.6 | 12 | 0 | 12 | 100K for joystick and S&P sensors reference | 100K x 5 1% 1/8 W SIP | DigiKey | 4606X-101-104LF ?? | 800-344-4539
| 0 | 28 | SW2 | MKVI | 1 |  | PCB mount - pushbutton switch | program mode switch | PCB | Banggood | 1 | P |  | 0.25 | 0.025 | 0.35 | 6 | 0 | 6 | program mode switch | PCB mount - pushbutton switch | Banggood | 0 | 800-344-4539
| 0 | 29 | J1 | MKVI | 1 | WM4203-ND | .100 5-pin stick header - locking | analog joystick | PCB | DigiKey | 1 | P | 0.4 |  | 0.04 | 0.44 | 6 | 0 | 6 | analog joystick | .100 5-pin stick header - locking | DigiKey | WM4203-ND | 800-344-4539
| 0 | 30 | J2 | MKVI | 1 | 277-1065-ND | .200 Euroconnector - 5-pin - PLUG | Power cord connector | PCB | DigiKey | 1 | P | 9.5 |  | 0.95 | 10.45 | 6 | 0 | 6 | #REF! | .200 Euroconnector - 5-pin - PLUG | DigiKey | 277-1065-ND | 800-344-4539
| 0 | 31 | J2 | MKVI | 1 | 277-1153-ND | .200 Euroconnector - 5-pin - PCB header | Power cord connector socket PCB | PCB | DigiKey | 1 | P | 3.5 |  | 0.35 | 3.85 | 6 | 0 | 6 | Power cord connector | #REF! | DigiKey | 277-1153-ND | 800-344-4539
| 0 | 32 | J2 | MKVI | 1 | 277-1062-ND | .200 Euroconnector - 2-pin - PLUG | helm drive connector | PCB | DigiKey | 1 | P | 4.5 |  | 0.45 | 4.95 | 6 | 0 | 6 | Power cord connector socket PCB | .200 Euroconnector - 2-pin - PCB header | DigiKey | 277-1062-ND | 800-344-4539
| 0 | 33 | J2 | MKVI | 1 | 277-1150-ND | .200 Euroconnector - 2-pin - PCB header | helm drive connector | PCB | DigiKey | 1 | P | 1.5 |  | 0.15 | 1.65 | 6 | 0 | 6 | helm drive connector | .200 Euroconnector - 5-pin - PCB header | DigiKey | 277-1150-ND | 800-344-4539
| 0 | 34 | J3 | MKVI | 1 | 28-3518-10T-ND | 28 pin socket for PIC | PIC socket | top | Banggood | 1 | P |  | 1 | 0.1 | 1.4 | 6 | 0 | 6 | PIC socket | 28 pin socket for PIC | Banggood | 28-3518-10T-ND | 800-344-4539
| 0 | 35 | J4 | MKVI | 1 | HDR100IMP06F-G-V-ST | .100 6-pin FEMALE header | USB header (Arduino) | PCB | DigiKey | 1 | P | 0.4 |  | 0.04 | 0.44 | 6 | 0 | 6 | USB header (Arduino) | .100 6-pin FEMALE header | DigiKey | HDR100IMP06F-G-V-ST | 800-344-4539
| 0 | 36 | J5, J6, DTR, CTS | MKVI | 4 | 900-0022032031-ND | .100 3-pin stick header | RC Receiver connector; JUMPERS | PCB | Banggood | 1 | P | 0.4 |  | 0.04 | 1.76 | 24 | 0 | 24 | RC Receiver connector; JUMPERS | .100 3-pin stick header | Banggood | 900-0022032031-ND | 800-344-4539
| 0 | 37 | J7, J9 | MKVI | 1 |  | pads for Cytron MD13S |  |  |  |  | P |  |  | 0 | 0 | 6 | 0 | 6 | 0 | pads for Cytron MD13S | 0 | 0 | 800-344-4539
| 0 | 38 | J27 | MKVI | 1 | 16-3518-10T-ND | 16 pin socket for ULN2003 | ULN2003 socket | top | Banggood | 1 | P |  | 1 | 0.1 | 1.4 | 6 | 0 | 6 | ULN2003 socket | 16 pin socket for ULN2003 | Banggood | 16-3518-10T-ND | 800-344-4539
| 0 | 39 | J8A, B, C, D | MKVI | 4 |  | .100 3-pin stick header - locking | switched joystick | top | Banggood | 1 | P | 1.5 |  | 0.15 | 6.6 | 24 | 0 | 24 | switched joystick | .100 3-pin stick header - locking | Banggood | 0 | 800-344-4539
| 0 | 40 | J10 - J11 | MKVI | 2 | WM4002-ND | .100 4-pin MALE header | S&P module connector | PCB | DigiKey | 1 | P | 0.9 |  | 0.09 | 1.98 | 12 | 0 | 12 | S&P module connector | .100 4-pin MALE header | DigiKey | WM4002-ND | 800-344-4539
| 0 | 41 | J12 - J19 | MKVI | 8 | 298-10283-ND | .250 90 degree insulated crimp connector | flying lead spade connector for joystick | PCB | DigiKey | 1 | P | 0.9 |  | 0.09 | 7.92 | 48 | 0 | 48 | flying lead spade connector for joystick | .250 90 degree insulated crimp connector | DigiKey | 298-10283-ND | 800-344-4539
| 0 | 42 | H1 | MKVI | 4 |  | 3mm threaded standoff post - 15mm | mounting hardware for Cytron MD13S | PCB | Robotshop | 1 | P | 1.5 |  | 0.15 | 6.6 | 24 | 0 | 24 | mounting hardware for Cytron MD13S | 3mm threaded standoff post - 15mm | Robotshop | 0 | 954-788-3611 | 555 SW 12 Ave, 204, Pompano Beach FL 33069
|  |  |  | MKVI | 3 |  |  | Assembly/Test |  |  | 3 | F |  |  |  | 0
|  |  |  | MKVI | 1 |  |  | Mark-up |  |  |  | F |  |  | 0 | 0
|  |  |  | MKVI |  |  |  | Manufacturing Cost - Mk VI PCB | [7 empty] | 255.183
[8 empty] | Development costs - amortization | [7 empty] | 0
|  |  | Published List Price |  |  |  |  | Published Retail Price (including S&P sensors) | [7 empty] | 500
Orders
[8 empty] | Total Sales Value | [7 empty] | 0
Martin 16 Power Assist System - Schedule B
I, Stephen Alvey, of INVENTURE MANAGEMENT LIMITED, attest that this inventory valuation is accurate in count and value, at the time of transfer to Kevin Penny, on or about November 12, 2018
Total value at date of transfer: $ 2,203.08
Signature:
Date:
Inventory | Value |  | Bills of Material - PCBs
|  |  | Mk V PCB (introduced Oct 2018) | [10 empty] | Exchange |  |  | Prod Run | 6
GST | 92.245 | [12 empty] | 1.3
| 1844.9 |  | Component # | Assem | Quan | Vendor Part # | Description | Name | Location | Vendor | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Total cost | Required | On-Hand | Order | Name | Description | Vendor | Vendor Part # | Vendor Phone
5 | 275 | 1A | PCB MKVA (OCT 2018) | MKV |  | DSAMVA | 3 1/2" x 5" PCB | DSA MkV Revision A PCB | PCB | Omni Circuit Boards | 3 | P | 50 |  | 5 | 0 | 0 | 5 | 0 | DSA MkV Revision A PCB | 3 1/2" x 5" PCB | Omni Circuit Boards | DSAMVA | 604-276-9717
10 | 638 | 1B | PCB MKVB (NOV 2018) | MKV | 1 | DSAMVB | 3 1/2" x 5" PCB | DSA MkV Revision B PCB | PCB | Omni Circuit Boards | 3 | P | 58 |  | 5.8 | 63.8 | 6 | 10 | 0 | DSA MkV Revision B PCB | 3 1/2" x 5" PCB | Omni Circuit Boards | DSAMVB | 604-276-9717
10 | 13.2 | 2 | C1 | MKV | 1 | P3104-ND | 0.1 microfarad polypropelene cap (64V) | motor drive suppressor cap | PCB | DigiKey | 1 | P | 1.2 |  | 0.12 | 1.32 | 6 | 10 | 0 | motor drive suppressor cap | 0.1 microfarad polypropelene cap (64V) | DigiKey | P3104-ND | 800-344-4539
10 | 6.6 | 3 | C9 | MKV | 1 | P5142-ND | 1000 microfarad ELECTROLYTIC (16V) cap | +12V power supply | PCB | DigiKey | 1 | P | 0.6 |  | 0.06 | 0.66 | 6 | 10 | 0 | +12V power supply | 1000 microfarad ELECTROLYTIC (16V) cap | DigiKey | P5142-ND | 800-344-4539
7 | 5.775 | 4 | U1 | MKV | 1 | LM4041DIZ-ADJ/NOPB-ND | LM4041 PRECISION VOLTAGE REF | +9V REF for Battery LED | PCB | DigiKey | 1 | P | 0.75 |  | 0.075 | 0.825 | 6 | 7 | 0 | +9V REF for Battery LED | LM4041 PRECISION VOLTAGE REF | DigiKey | LM4041DIZ-ADJ/NOPB-ND | 800-344-4539
10 | 13.2 | 5 | PTC1 | MKV | 1 | RGEF900HF-ND | 9A PTC | Polythermal current limiter - 9A | PCB | DigiKey | 1 | P | 1.2 |  | 0.12 | 1.32 | 6 | 10 | 0 | Polythermal current limiter - 9A | 9A PTC | DigiKey | RGEF900HF-ND | 800-344-4539
5 | 8.25 | 6 | PTC2 | MKV | 1 | RGEF1400HF-ND | 14A PTC | Polythermal current limiter - 14A | PCB | DigiKey | 1 | P | 1.5 |  | 0.15 | 1.65 | 6 | 5 | 1 | Polythermal current limiter - 14A | 14A PTC | DigiKey | RGEF1400HF-ND | 800-344-4539
20 | 6.6 | 7 | D6, D7 | MKV | 2 | 1N4007-E3/54GICT-ND | power diode | reverse polarity protect - main power relay | PCB | DigiKey | 1 | P | 0.3 |  | 0.03 | 0.66 | 12 | 20 | 0 | reverse polarity protect - main power relay | power diode | DigiKey | 1N4007-E3/54GICT-ND | 800-344-4539
20 | 44.22 | 8 | Z1 | MKV | 1 | SA20CADICT-ND | Zener diode – 20V 500W bi-directional | motor drive suppressor diode | PCB | DigiKey | 1 | P | 2.01 |  | 0.201 | 2.211 | 6 | 20 | 0 | motor drive suppressor diode | Zener diode – 20V 500W bi-directional | DigiKey | SA20CADICT-ND | 800-344-4539
20 | 11 | 9 | D9, D11, D12 | MKV | 3 | 497-2512-1-ND | BAT48 40V schotky diode | reverse polarity protection | PCB | DigiKey | 1 | P | 0.5 |  | 0.05 | 1.65 | 18 | 20 | 0 | reverse polarity protection | BAT48 40V schotky diode | DigiKey | 497-2512-1-ND | 800-344-4539
39 | 8.58 | 10 | D13, D14, D15, D16 | MKV | 4 | 1N4148MSCT-ND | signal diode | LED driver | PCB | DigiKey | 1 | P | 0.2 |  | 0.02 | 0.88 | 24 | 39 | 0 | LED driver | signal diode | DigiKey | 1N4148MSCT-ND | 800-344-4539
70 | 46.2 | 11 | LED1 - LED5 | MKV | 5 | XLM2MR12W | high brightness RED LED (30mA) pg 583 | indicator LEDs | PCB | DigiKey | 1 | P | 0.6 |  | 0.06 | 3.3 | 30 | 70 | 0 | indicator LEDs | high brightness RED LED (30mA) pg 583 | DigiKey | XLM2MR12W | 800-344-4539
5 | 49 | 13 | K1 | MKV | 1 | 817-FTR-P2CN010W1 | 10V DPDT reversing relay (20A) | DC motor drive relay | PCB | Mouser | 3 | P |  | 7 | 0.7 | 9.8 | 6 | 5 | 1 | DC motor drive relay | 10V DPDT reversing relay (20A) | Mouser | 817-FTR-P2CN010W1
5 | 26.125 | 15 | K2 | MKV | 1 | Z2307-ND | OMRON G2R-1A-E 2068W1 12V/16A | main power relay - reverse polarity protect | PCB | DigiKey | 2 | P | 4.75 |  | 0.475 | 5.225 | 6 | 5 | 1 | main power relay - reverse polarity protect | #REF! | DigiKey | OMRON G2R-1A-E 2068W1 12V/16A
10 | 1.1 | 16 | R9 | MKV | 1 | 47RQBK-ND | 47R - 5% 1/4 W resistor | relay coil resistor | PCB | DigiKey | 1 | P | 0.1 |  | 0.01 | 0.11 | 6 | 10 | 0 | relay coil resistor | 47R - 5% 1/4 W resistor | DigiKey | 47RQBK-ND | 800-344-4539
50 | 5.5 | 17 | R3, R4, R7, R8, R13, R17 | MKV | 6 | 1KEBK-ND | 1K - 5% 1/8 W resistor | LED resistor | PCB | DigiKey | 1 | P | 0.1 |  | 0.01 | 0.66 | 36 | 50 | 0 | LED resistor | 1K - 5% 1/8 W resistor | DigiKey | 1KEBK-ND | 800-344-4539
20 | 2.2 | 18 | R1, R2, R5, R10, R11, R12 | MKV | 6 | 10KEBK-ND | 10K - 5% 1/8 W resistor | joystick reference | PCB | DigiKey | 1 | P | 0.1 |  | 0.01 | 0.66 | 36 | 20 | 16 | joystick reference | 10K - 5% 1/8 W resistor | DigiKey | 10KEBK-ND | 800-344-4539
25 | 5 | 19B | R15A | MKV | 1 | 115KXBK-ND | 115K - 1% 1/4 W resistor (critical value) | Vref voltage divider REVB/C PCB | PCB | DigiKey | 1 | P | 0.1 |  | 0.1 | 0.2 | 6 | 25 | 0 | Vref voltage divider REVB/C PCB | 115K - 1% 1/4 W resistor (critical value) | DigiKey | 115KXBK-ND | 800-344-4539
25 | 5 | 19B | R15B | MKV | 1 | 118KXBK-ND | 118K - 1% 1/4 W resistor (critical value) | Vref voltage divider REVB/C PCB | PCB | DigiKey | 1 | P | 0.1 |  | 0.1 | 0.2 | 6 | 25 | 0 | Vref voltage divider REVB/C PCB | 118K - 1% 1/4 W resistor (critical value) | DigiKey | 118KXBK-ND | 800-344-4539
25 | 5 | 19C | R14 | MKV | 1 | 1.00MXBK-ND | 1M - 1% 1/4 W resistor (critical value) | Vref voltage divider REVB/C PCB | PCB | DigiKey | 1 | P | 0.1 |  | 0.1 | 0.2 | 6 | 25 | 0 | Vref voltage divider REVB/C PCB | 1M - 1% 1/4 W resistor (critical value) | DigiKey | 1.00MXBK-ND | 800-344-4539
| 0 | 21 | R16 | MKV | 1 | 1.2KEBK-ND | 1.2K - 5% 1/8 W resistor | BATTERY LED; REVB/C PCB | PCB | DigiKey | 1 | P | 0.1 |  | 0.1 | 0.2 | 6 | 0 | 6 | BATTERY LED; REVB/C PCB | 1.2K - 5% 1/8 W resistor | DigiKey | 1.2KEBK-ND | 800-344-4539
30 | 13.2 | 23 | RC RX | MKV | 3 | 900-0022032031-ND | .100 3-pin stick header | RC Receiver connector | PCB | DigiKey | 1 | P | 0.4 |  | 0.04 | 1.32 | 18 | 30 | 0 | RC Receiver connector | .100 3-pin stick header | DigiKey | 900-0022032031-ND | 800-344-4539
40 | 15.4 | 24 | JMP1, JMP2, JMP3 | MKV | 3 | WM4000-ND | .100 2-pin stick header | Jumpers for RELAY mode | PCB | DigiKey | 1 | P | 0.35 |  | 0.035 | 1.155 | 18 | 40 | 0 | Jumpers for RELAY mode | .100 2-pin stick header | DigiKey | WM4000-ND | 800-344-4539
10 | 25.3 | 25 | J2 | MKV | 1 | 277-1065-ND | .200 Euroconnector - 5-pin - PCB header | Power cord connector | PCB | DigiKey | 1 | P | 2.3 |  | 0.23 | 2.53 | 6 | 10 | 0 | Power cord connector | .200 Euroconnector - 5-pin - PCB header | DigiKey | 277-1065-ND | 800-344-4539
5 | 41.25 | 26 | J2 | MKV | 1 | 277-1153-ND | .200 Euroconnector - 5-pin - term block PLUG | Power cord connector | PCB | DigiKey | 1 | P | 7.5 |  | 0.75 | 8.25 | 6 | 5 | 1 | Power cord connector | .200 Euroconnector - 5-pin - term block PLUG | DigiKey | 277-1153-ND | 800-344-4539
5 | 8.25 | 27 | J3 | MKV | 1 | 277-1027-ND | .200 Euroconnector - 2-pin - PCB term block | Relay drive connector | PCB | DigiKey | 1 | P | 1.5 |  | 0.15 | 1.65 | 6 | 5 | 1 | Relay drive connector | .200 Euroconnector - 2-pin - PCB term block | DigiKey | 277-1027-ND | 800-344-4539
90 | 89.1 | 28 | J10 - J17 | MKV | 12 | 298-10283-ND | .250 90 degree insulated crimp connector | flying lead spade connector for joystick | PCB | DigiKey | 1 | P | 0.9 |  | 0.09 | 11.88 | 72 | 90 | 0 | flying lead spade connector for joystick | .250 90 degree insulated crimp connector | DigiKey | 298-10283-ND | 800-344-4539
50 | 27.5 | 29 | J30 - J33 | MKV | 4 |  | BLUE #10 ring crimp connector | ring connectors for Sabretooth module | PCB | DigiKey | 1 | P | 0.5 |  | 0.05 | 2.2 | 24 | 50 | 0 | ring connectors for Sabretooth module | BLUE #10 ring crimp connector | DigiKey | 0 | 800-344-4539
110 | 24.2 | 30 | J20 - J27 | MKV | 8 | 3548K-ND | Keystone .187 female spade | MPL switch PCB connector | PCB | DigiKey | 1 | P | 0.2 |  | 0.02 | 1.76 | 48 | 110 | 0 | MPL switch PCB connector | Keystone .187 female spade | DigiKey | 3548K-ND | 800-344-4539
|  | 31 | S1, S2, S3, S4 | MKV |  | X05543 | MPL-502-range B micro switch | MPL pnuematic switch | PCB | Micro Pnuematic Logic Inc. 1-888-386-4270 | 1 | P |  | 40 | 4 | 0 | 0 | 0 | 0 | MPL pnuematic switch | MPL-502-range B micro switch | Micro Pnuematic Logic Inc. 1-888-386-4270 | X05543 | 954-788-3611 | 555 SW 12 Ave, 204, Pompano Beach FL 33069
30 | 16.5 | 32 | H1 | MKV | 4 | 14HTSP010 | 6-32 threaded standoff post - 1" | PCB mounting hardware | PCB | Quayle Electronics | 1 | P | 0.5 |  | 0.05 | 2.2 | 24 | 30 | 0 | PCB mounting hardware | 6-32 threaded standoff post - 1" | Quayle Electronics | 14HTSP010 | 954-788-3611 | 555 SW 12 Ave, 204, Pompano Beach FL 33069
30 | 4.95 | 33 | H2 | MKV | 4 | NYPS-632112 | 6-32 threaded screw - 1 1/2" | PCB mounting hardware | PCB | Quayle Electronics | 1 | P | 0.15 |  | 0.015 | 0.66 | 24 | 30 | 0 | PCB mounting hardware | 6-32 threaded screw - 1 1/2" | Quayle Electronics | NYPS-632112 | 954-788-3611 | 555 SW 12 Ave, 204, Pompano Beach FL 33069
40 | 6.6 | 34 | H3 | MKV | 4 | NYPS-63238 | 6-32 threaded screw - 3/8" | PCB mounting hardware | PCB | Quayle Electronics | 1 | P | 0.15 |  | 0.015 | 0.66 | 24 | 40 | 0 | PCB mounting hardware | 6-32 threaded screw - 3/8" | Quayle Electronics | NYPS-63238 | 954-788-3611 | 555 SW 12 Ave, 204, Pompano Beach FL 33069
40 | 6.6 | 35 | H4 | MKV | 4 | 14HTSP011 | 8-32 threaded stand-off post - 1/4" | PCB mounting hardware | PCB | Quayle Electronics | 1 | P | 0.15 |  | 0.015 | 0.66 | 24 | 40 | 0 | PCB mounting hardware | 8-32 threaded stand-off post - 1/4" | Quayle Electronics | 14HTSP011 | 954-788-3611 | 555 SW 12 Ave, 204, Pompano Beach FL 33069
|  |  |  | MKV | 3 |  |  | Assembly/Test |  |  | 3 | F | 50 |  | 0 | 150
|  |  |  | MKV | 1 |  |  | Mark-up |  |  |  | F |  |  | 0 | 0
|  |  |  | MKV |  |  |  | Manufacturing Cost - Mk V PCB | [7 empty] | 280.456
[8 empty] | Development costs - amortization | [7 empty] | 0
|  |  | Published List Price |  |  |  |  | Published Retail Price | [7 empty] | 300
Orders
[8 empty] | Total Sales Value | [7 empty] | 0
|  |  | Windlass PCB REV C | [10 empty] | Exchange |  |  | Prod Run | 6
1.3
| 55 |  | Component # | Assem | Quan | Vendor Part # | Description | Name | Location | Vendor | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Total cost | Required | On-Hand | Order | Name | Description | Vendor | Vendor Part # | Phone | Address
| 0 | 1 | PCB3 | WIN | 1 |  | 2.5" x 2.5" single sided PCB | PCB | W PCB | JCL PCB | 3 | P | 10 |  | 1 | 11 | 6 | 0 | 6 | PCB | 2.5" x 2.5" single sided PCB | JCL PCB | 0 | 604-276-9717
| 0 | 2 | K1 | WIN | 1 | 41-V23086C2001A403-ND | 12V DPDT reversing relay (25A) | aux Motor relays | W PCB | Digikey | 3 | P | 18 |  | 1.8 | 19.8 | 6 | 0 | 6 | aux Motor relays | 12V DPDT reversing relay (25A) | Digikey | 41-V23086C2001A403-ND
| 0 | 3 | D1 | WIN | 1 | SA20CADICT-ND | Zener diode – 20V 500W bi-directional | relay diodes | W PCB | DigiKey | 1 | P | 2.01 |  | 0.201 | 2.211 | 6 | 0 | 6 | relay diodes | Zener diode – 20V 500W bi-directional | DigiKey | SA20CADICT-ND | 800-344-4539
| 0 | 4 | D2 | WIN | 1 | XLM2MR12W | high brightness RED LED (30mA) pg 583 | indicator LED | W PCB | DigiKey | 1 | P | 2.5 |  | 0.25 | 2.75 | 6 | 0 | 6 | indicator LED | high brightness RED LED (30mA) pg 583 | DigiKey | XLM2MR12W | 800-344-4539
| 0 | 5 | R1 | WIN | 1 | 1KEBK-ND | 1K - 1% 1/8 W resistor | LED resistor | W PCB | DigiKey | 1 | P | 0.1 |  | 0.01 | 0.11 | 6 | 0 | 6 | LED resistor | 1K - 1% 1/8 W resistor | DigiKey | 1KEBK-ND | 800-344-4539
| 0 | 6 | C1 | WIN | 1 | P3104-ND | 0.1 microfarad polypropelene cap (64V) | motor drive suppressor cap | W PCB | DigiKey | 1 | P | 1.2 |  | 0.12 | 1.32 | 6 | 0 | 6 | motor drive suppressor cap | 0.1 microfarad polypropelene cap (64V) | DigiKey | P3104-ND | 800-344-4539
50 | 27.5 | 7 | J1, J3 | WIN | 6 | 3528K-ND | .250 female solder spade | PCB spade connector for motor and switch | W PCB | DigiKey | 1 | P | 0.5 |  | 0.05 | 3.3 | 36 | 50 | 0 | PCB spade connector for motor and switch | .250 female solder spade | DigiKey | 3528K-ND | 800-344-4539
50 | 27.5 | 8 | J2 1-5 | WIN | 7 | 4901K-ND | .250 male solder spade | PCB spade connector for cable | W PCB | DigiKey | 1 | P | 0.5 |  | 0.05 | 3.85 | 42 | 50 | 0 | PCB spade connector for cable | .250 male solder spade | DigiKey | 4901K-ND | 800-344-4539
|  |  |  | WIN | 1 |  |  | Assembly/Test |  |  |  | F |  |  | 0 | 0
|  |  |  | WIN | 1 |  |  | Mark-up |  |  |  | F |  |  | 0 | 0
|  |  |  | WIN |  |  |  | Manufacturing Cost - Windlass PCB | [7 empty] | 44.341
[8 empty] | Development costs - amortization | [7 empty] | 0
|  |  | Published List Price |  |  |  |  | Published Retail Price | [7 empty] | 85
[5 empty] | 5 |  |  | Orders
[8 empty] | Total Sales Value | [7 empty] | 425
|  |  | Battery PCB (introduced Dec 2018) | [10 empty] | Exchange |  |  | Prod Run
1.3
|  |  | Component # | Assem | Quan | Vendor Part # | Description | Name | Location | Vendor | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Total cost | Required | On-Hand | Order | Name | Description | Vendor | Vendor Part # | Vendor Phone
10 | 70 | 1 | PCB BATA (NOV 2018) | BAT | 1 | DSABATA | 3 1/2" x 5" PCB | PCB for EarthX ETX18B lithium battery | PCB | JLC PCB | 3 | P |  | 5 | 0.5 | 7 | 0 | 10 | 0 | PCB for EarthX ETX18B lithium battery | 3 1/2" x 5" PCB | JLC PCB | DSABATA | 604-276-9717
20 | 16.5 | 2 | U1 | BAT | 1 | LM4041DIZ-ADJ/NOPB-ND | LM4041 PRECISION VOLTAGE REF | V REF for Battery OK LED | PCB | DigiKey | 1 | P | 0.75 |  | 0.075 | 0.825 | 0 | 20 | 0 | V REF for Battery OK LED | LM4041 PRECISION VOLTAGE REF | DigiKey | LM4041DIZ-ADJ/NOPB-ND | 800-344-4539
10 | 6.6 | 3 | Q1 | BAT | 1 | 2N3904-ND | NPN transistor - general purpose | amplifier for Battery OK LED | PCB | DigiKey | 1 | P | 0.6 |  | 0.06 | 0.66 | 6 | 10 | 0 | amplifier for Battery OK LED | NPN transistor - general purpose | DigiKey | 2N3904-ND | 800-344-4539
10 | 2.75 | 4 | Z2 | BAT | 1 | 1N5231B-ND | Zener diode – 5.1V 500MW | voltage clamp across LM4041 (OPTION) | PCB | DigiKey | 1 | P | 0.25 |  | 0.025 | 0.275 | 6 | 10 | 0 | voltage clamp across LM4041 (OPTION) | Zener diode – 5.1V 500MW | DigiKey | 1N5231B-ND | 800-344-4539
30 | 36.3 | 5 | SW1 | BAT | 1 | CW181-ND | PCB mount test switch | TEST switch for Battery OK | PCB | DigiKey | 1 | P | 1.1 |  | 0.11 | 1.21 | 0 | 30 | 0 | TEST switch for Battery OK | PCB mount test switch | DigiKey | CW181-ND | 800-344-4539
10 | 28.6 | 6 | SW1 alternate | BAT | 1 | EG5357CT-ND | PCB mount test switch (alternate) | TEST switch for Battery OK (alternate) | PCB | DigiKey | 1 | P | 2.6 |  | 0.26 | 2.86 | 0 | 10 | 0 | TEST switch for Battery OK (alternate) | PCB mount test switch (alternate) | DigiKey | EG5357CT-ND | 800-344-4539
20 | 33 | 7 | PTC2 | BAT | 2 | RGEF1400HF-ND | 14A PTC | Polythermal current limiter - 14A | PCB | DigiKey | 1 | P | 1.5 |  | 0.15 | 3.3 | 0 | 20 | 0 | Polythermal current limiter - 14A | 14A PTC | DigiKey | RGEF1400HF-ND | 800-344-4539
25 | 16.5 | 8 | LED1 | BAT | 1 | P461-ND | high brightness GREEN LED (30mA) pg 583 | Battery OK LED | PCB | DigiKey | 1 | P | 0.6 |  | 0.06 | 0.66 | 6 | 25 | 0 | Battery OK LED | high brightness GREEN LED (30mA) pg 583 | DigiKey | P461-ND | 800-344-4539
25 | 2.75 | 9 | R1, R10 | BAT | 2 | 10KEBK-ND | 10K - 5% 1/8 W resistor | 2N3904 base resistor | PCB | DigiKey | 1 | P | 0.1 |  | 0.01 | 0.22 | 0 | 25 | 0 | 2N3904 base resistor | 10K - 5% 1/8 W resistor | DigiKey | 10KEBK-ND | 800-344-4539
25 | 5 | 10 | R6 | BAT | 1 | 464XBK-ND | 464R - 1% 1/4 W resistor | Battery OK LED resistor | PCB | DigiKey | 1 | P | 0.1 |  | 0.1 | 0.2 | 6 | 25 | 0 | Battery OK LED resistor | 464R - 1% 1/4 W resistor | DigiKey | 464XBK-ND | 800-344-4539
25 | 5 | 11 | R14 (same as Mk V REV C) | BAT | 1 | 1.00MXBK-ND | 1.00M - 1% 1/4 W resistor (critical value) | Vref voltage divider | PCB | DigiKey | 1 | P | 0.1 |  | 0.1 | 0.2 | 0 | 25 | 0 | Vref voltage divider | 1.00M - 1% 1/4 W resistor (critical value) | DigiKey | 1.00MXBK-ND | 800-344-4539
25 | 5 | 12 | R15C | BAT | 1 | 105KXBK-ND | 105K - 1% 1/4 W resistor (critical value) | Vref voltage divider | PCB | DigiKey | 1 | P | 0.1 |  | 0.1 | 0.2 | 0 | 25 | 0 | Vref voltage divider | 105K - 1% 1/4 W resistor (critical value) | DigiKey | 105KXBK-ND | 800-344-4539
25 | 52.5 | 13 | 16 GA wire harness | BAT | 1 |  | 16 GA wire harness | 16 GA wire harness | PCB | IML | 1 | P | 2 |  | 0.1 | 2.1 | 0 | 25 | 0 | 16 GA wire harness | 16 GA wire harness | IML | 0 | 800-344-4539
|  | 14 |  | BAT | 1 |  |  | Assembly/Test |  |  | 1 | F |  |  | 0 | 0
|  |  |  | BAT | 1 |  |  | Mark-up |  |  |  | F |  |  | 0 | 0
|  |  |  | BAT |  |  |  | Manufacturing Cost - Battery PCB | [7 empty] | 19.71
[8 empty] | Development costs - amortization | [7 empty] | 0
|  |  | Published List Price |  |  |  |  | Published Retail Price | [7 empty] | 20
[5 empty] | 5 |  |  | Orders
[8 empty] | Total Sales Value | [7 empty] | 100
|  |  | SKUD seat contol (auto) | [10 empty] | Exchange |  |  | Prod Run | 0
1.3
| 0 |  | Component # | Assem | Quan | Vendor Part # | Description | Name | Location | Vendor | Lead time | Pur/Fab | Cost CDN | Cost US | shipping | Total cost | Required | On-Hand | Order | Name | Description | Vendor | Vendor Part # | Phone | Address
| 0 | 1 | PCB3 | SKUD | 1 |  | 2.5" x 2.5" single sided PCB | PCB | W PCB | JLC LCB | 3 | P |  | 8 | 0.8 | 11.2 | 6 | 0 | 6 | PCB | 2.5" x 2.5" single sided PCB | JLC LCB | 0 | 604-276-9717
| 0 | 2 | MOD1 | SKUD | 1 | DFR0339 | Beetle BLE Arduino PIC | PIC | W PCB | DFRobot.com | 3 | P |  | 15 | 1.5 | 21 | 6 | 0 | 6 | PIC | Beetle BLE Arduino PIC | DFRobot.com | DFR0339
| 0 | 2 | MOD2 | SKUD | 1 | 2991 | Pololu G2 motor driver 17A | PWM motor driver | W PCB | Pololu.com | 3 | P |  | 30 | 3 | 42 | 6 | 0 | 6 | PWM motor driver | Pololu G2 motor driver 17A | Pololu.com | 2991
| 0 | 2 | MOD3 | SKUD | 1 | 2815 | Pololu MOSFET switch | power switch | W PCB | Pololu.com | 3 | P |  | 7 | 0.7 | 9.8 | 6 | 0 | 6 | power switch | Pololu MOSFET switch | Pololu.com | 2815
| 0 | 2 | MOD4 | SKUD | 1 | DFR0831 | Buck 12v/5V power supply | power supply | W PCB | DFRobot.com | 3 | P |  | 8 | 0.8 | 11.2 | 6 | 0 | 6 | power supply | Buck 12v/5V power supply | DFRobot.com | DFR0831
| 0 | 2 | MOD5 | SKUD | 1 | SNP PCB | Sip & Puff sensot PCB | S&P Module | W PCB | IML | 3 | P | 48 |  | 4.8 | 52.8 | 6 | 0 | 6 | S&P Module | Sip & Puff sensot PCB | IML | SNP PCB
| 0 | 3 | BAT PCB | SKUD | 1 | BAT PCB | battery PCB | battery PCB | W PCB | IML | 1 | P | 19.71 |  | 1.971 | 21.681 | 6 | 0 | 6 | battery PCB | battery PCB | IML | BAT PCB | 800-344-4539
| 0 | 4 | D2 | SKUD | 1 | XLM2MR12W | high brightness RED LED (30mA) pg 583 | indicator LED | W PCB | DigiKey | 1 | P | 2.5 |  | 0.25 | 2.75 | 6 | 0 | 6 | indicator LED | high brightness RED LED (30mA) pg 583 | DigiKey | XLM2MR12W | 800-344-4539
| 0 | 5 | R1 | SKUD | 1 | [5 empty] | 1 | P |  |  | 0 | 0 | 6 | 0 | 6 | 0 | 0 | 0 | 0 | 800-344-4539
| 0 | 6 | C1 | SKUD | 1 | [5 empty] | 1 | P |  |  | 0 | 0 | 6 | 0 | 6 | 0 | 0 | 0 | 0 | 800-344-4539
50 | 0 | 7 | J1, J3 | SKUD | 6 | [5 empty] | 1 | P |  |  | 0 | 0 | 36 | 50 | 0 | 0 | 0 | 0 | 0 | 800-344-4539
50 | 0 | 8 | J2 1-5 | SKUD | 7 | [5 empty] | 1 | P |  |  | 0 | 0 | 42 | 50 | 0 | 0 | 0 | 0 | 0 | 800-344-4539
|  |  |  | SKUD | 1 |  |  | Assembly/Test |  |  |  | F |  |  | 0 | 0
|  |  |  | SKUD | 1 |  |  | Mark-up |  |  |  | F |  |  | 0 | 0
|  |  |  | SKUD |  |  |  | Manufacturing Cost - Windlass PCB | [7 empty] | 172.431
[8 empty] | Development costs - amortization | [7 empty] | 0
|  |  | Published List Price |  |  |  |  | Published Retail Price | [7 empty] | 85
[5 empty] | 5 |  |  | Orders
[8 empty] | Total Sales Value | [7 empty] | 425

## design calculations
| oct 26 2018 | call to EarthX regarding battery voltage range: |  |  |  |  | fully charged: 13.7 - 14.0V; discharges to 13.3 - 13.5 in first 10% capacity
90% of capacity is from 13.1 - 12V
set CHARGE BATTERY LED at 12V (maybe 11.8 to allow for surge)
EarthX battery BMS cut-out is at 10.7 - 11V
Sabretooth is programmed for Vmin at 11.5V (will shut off H-bridge)
Vbat | Chrg Battery | 11.8 | 11.5 | 11.6 | 11.7 | 11.8 | 11.9 | 12 | 12.1 | 12.2 | 12.3 | 12.4 | 12.5 | 12.6 | 12.7 | 12.8 | 12.9 | 13 | 13.1 | 13.2 | 13.3 | 13.4 | 13.5 | 13.6 | 13.7
R14 | 117000 | 11.8 | 11.5 | 11.6 | 11.7 | 11.8 | 11.9 | 12 | 12.1 | 12.2 | 12.3 | 12.4 | 12.5 | 12.6 | 12.7 | 12.8 | 12.9 | 13 | 13.1 | 13.2 | 13.3 | 13.4 | 13.5 | 13.6 | 13.7
R15 | 1000000 | 10.564 | 10.2954 | 10.385 | 10.4745 | 10.564 | 10.6535 | 10.7431 | 10.8326 | 10.9221 | 11.0116 | 11.1012 | 11.1907 | 11.2802 | 11.3697 | 11.4593 | 11.5488 | 11.6383 | 11.7278 | 11.8174 | 11.9069 | 11.9964 | 12.0859 | 12.1755 | 12.265
V4041 feedback |  | 1.236 | 1.2046 | 1.215 | 1.2255 | 1.236 | 1.2465 | 1.2569 | 1.2674 | 1.2779 | 1.2884 | 1.2988 | 1.3093 | 1.3198 | 1.3303 | 1.3407 | 1.3512 | 1.3617 | 1.3722 | 1.3826 | 1.3931 | 1.4036 | 1.4141 | 1.4245 | 1.435
Vbat | Battery OK | 13 | 11.5 | 11.6 | 11.7 | 11.8 | 11.9 | 12 | 12.1 | 12.2 | 12.3 | 12.4 | 12.5 | 12.6 | 12.7 | 12.8 | 12.9 | 13 | 13.1 | 13.2 | 13.3 | 13.4 | 13.5 | 13.6 | 13.7
R14 | 105000 | 13 | 11.5 | 11.6 | 11.7 | 11.8 | 11.9 | 12 | 12.1 | 12.2 | 12.3 | 12.4 | 12.5 | 12.6 | 12.7 | 12.8 | 12.9 | 13 | 13.1 | 13.2 | 13.3 | 13.4 | 13.5 | 13.6 | 13.7
R15 | 1000000 | 11.7647 | 10.4072 | 10.4977 | 10.5882 | 10.6787 | 10.7692 | 10.8597 | 10.9502 | 11.0407 | 11.1312 | 11.2217 | 11.3122 | 11.4027 | 11.4932 | 11.5837 | 11.6742 | 11.7647 | 11.8552 | 11.9457 | 12.0362 | 12.1267 | 12.2172 | 12.3077 | 12.3982
V4041 feedback |  | 1.2353 | 1.0928 | 1.1023 | 1.1118 | 1.1213 | 1.1308 | 1.1403 | 1.1498 | 1.1593 | 1.1688 | 1.1783 | 1.1878 | 1.1973 | 1.2068 | 1.2163 | 1.2258 | 1.2353 | 1.2448 | 1.2543 | 1.2638 | 1.2733 | 1.2828 | 1.2923 | 1.3018
Vbat |  | 13.7 | 11.5 | 11.6 | 11.7 | 11.8 | 11.9 | 12 | 12.1 | 12.2 | 12.3 | 12.4 | 12.5 | 12.6 | 12.7 | 12.8 | 12.9 | 13 | 13.1 | 13.2 | 13.3 | 13.4 | 13.5 | 13.6 | 13.7
R16 | 304
R14 | 255 | 12.3604 | 10.3755 | 10.4657 | 10.556 | 10.6462 | 10.7364 | 10.8266 | 10.9169 | 11.0071 | 11.0973 | 11.1875 | 11.2777 | 11.368 | 11.4582 | 11.5484 | 11.6386 | 11.7289 | 11.8191 | 11.9093 | 11.9995 | 12.0897 | 12.18 | 12.2702 | 12.3604
R15 | 2550 | 11.2367 | 9.4323 | 9.5143 | 9.5963 | 9.6784 | 9.7604 | 9.8424 | 9.9244 | 10.0064 | 10.0885 | 10.1705 | 10.2525 | 10.3345 | 10.4165 | 10.4986 | 10.5806 | 10.6626 | 10.7446 | 10.8266 | 10.9087 | 10.9907 | 11.0727 | 11.1547 | 11.2367
I = |  | 4.4066 | 3.6989 | 3.7311 | 3.7633 | 3.7954 | 3.8276 | 3.8598 | 3.8919 | 3.9241 | 3.9563 | 3.9884 | 4.0206 | 4.0528 | 4.0849 | 4.1171 | 4.1492 | 4.1814 | 4.2136 | 4.2457 | 4.2779 | 4.3101 | 4.3422 | 4.3744 | 4.4066
I 4041 = |  | 0.00029472 | -0.0004129 | -0.00038074 | -0.00034857 | -0.00031641 | -0.00028424 | -0.00025208 | -0.00021992 | -0.00018775 | -0.00015559 | -0.00012342 | -9.1257e-05 | -5.9092e-05 | -2.6927e-05 | 5.2373e-06 | 3.7402e-05 | 6.9567e-05 | 0.00010173 | 0.0001339 | 0.00016606 | 0.00019823 | 0.00023039 | 0.00026255 | 0.00029472
IM4041 adjustable reference - component calculations
| I bias (mA) | 13.7: R16; 11.5: Vbat; 11.6: Vout; 11.7: Vref
| 4.8491 | 13.7: 464; 11.5: 12; 11.6: 9.75; 11.7: 8.51
| 7.0043 | 13.7: 464; 11.5: 13; 11.6: 9.75; 11.7: 8.51
[13 empty] | Vbat = | 12 | LED OFF |  |  | Vbat = | 13 | LED MAX
[13 empty] | R16 |  | R17 LED |  |  | R16 |  | R17 LED
| I 3906 (mA) | R17 3906 | R16 | Vbat | Vout | Vref | R14+R15 | R14 | R15 | I divider |  |  | 4.8491 |  | 0 | 4.8491 |  | 7.0043 |  | 2.1552 | 9.1595
| 0 | 13.7: 464; 11.5: 464; 11.6: 12; 11.7: 9.75; 11.8: 8.51; 11.9: 2710; 12: 340; 12.1: 2370; 12.2: 3.5978; 12.3: 8.5268
| 2.1552 | 13.7: 464; 11.5: 464; 11.6: 13; 11.7: 9.75; 11.8: 8.51; 11.9: 2710; 12: 340; 12.1: 2370; 12.2: 3.5978; 12.3: 8.5268
[13 empty] | LM4041 |  | R14/15 |  |  | LM4041 |  | R14/15
[13 empty] | 1.2514 |  | 3.5978 | 4.8491 |  | 5.5617 |  | 3.5978 | 9.1595
I zener (must be less than 15mA)
| 1.2514 | 11.6: 10.7
| 5.5617 | 11.6: 13.5
Worst case - Standard 1% resistor values
| I bias (mA) | 13.7: R16; 11.5: Vbat; 11.6: Vout; 11.7: Vref
| 3.6638 | 13.7: 464; 11.5: 12; 11.6: 10.3; 11.7: 9.06
| 9.6983 | 13.7: 464; 11.5: 13.5; 11.6: 9; 11.7: 7.76
[13 empty] | Vbat = | 12 | LED OFF |  |  | Vbat = | 13.5 | LED MAX
[13 empty] | R16 |  | R17 LED |  |  | R16 |  | R17 LED
| I led (mA) | R17 LED | R16 | Vbat | Vout | Vref | R14+R15 | R14 | R15 | I divider |  |  | 3.6638 |  | -6.0558e-15 | 3.6638 |  | 9.6983 |  | 13.6364 | 23.3346
| -6.0558e-15 | 13.7: 110; 11.5: 464; 11.6: 12; 11.7: 10.3; 11.8: 9.0882; 11.9: 2890; 12: 340; 12.1: 2550; 12.2: 3.564; 12.3: 9.0882
| 13.6364 | 13.7: 110; 11.5: 464; 11.6: 13.5; 11.7: 10.3; 11.8: 9.0882; 11.9: 2890; 12: 340; 12.1: 2550; 12.2: 3.564; 12.3: 9.0882
[13 empty] | LM4041 |  | R14/15 |  |  | LM4041 |  | R14/15
[13 empty] | 0.099779 |  | 3.564 | 3.6638 |  | 19.7706 |  | 3.564 | 23.3346
I zener (must be less than 15mA)
| 0.099779 | 11.6: 10.7
| 19.7706 | 11.6: 13.5
Typical range - Standard 1% resistor values
| I bias (mA) | 13.7: R16; 11.5: Vbat; 11.6: Vout; 11.7: Vref
| 5.3879 | 13.7: 464; 11.5: 11.5; 11.6: 9; 11.7: 7.76
| 10.7759 | 13.7: 464; 11.5: 14; 11.6: 9; 11.7: 7.76
[13 empty] | Vbat = | 11.5 | LED OFF |  |  | Vbat = | 14 | LED MAX
[13 empty] | R16 |  | R17 LED |  |  | R16 |  | R17 LED
| I led (mA) | R17 LED | R16 | Vbat | Vout | Vref | R14+R15 | R14 | R15 | I divider |  |  | 5.3879 |  | -6.0558e-15 | 5.3879 |  | 10.7759 |  | 16 | 26.7759
| -6.0558e-15 | 13.7: 110; 11.5: 464; 11.6: 12.24; 11.7: 10.54; 11.8: 9.3; 11.9: 2890; 12: 340; 12.1: 2550; 12.2: 3.6471; 12.3: 10.54
| 16 | 13.7: 110; 11.5: 464; 11.6: 14; 11.7: 10.54; 11.8: 9.3; 11.9: 2890; 12: 340; 12.1: 2550; 12.2: 3.6471; 12.3: 10.54
[13 empty] | LM4041 |  | R14/15 |  |  | LM4041 |  | R14/15
[13 empty] | 1.7409 |  | 3.6471 | 5.3879 |  | 23.1288 |  | 3.6471 | 26.7759
I zener (must be less than 15mA)
| 1.7409 | 11.6: 10.7
| 23.1288 | 11.6: 13.5